Manager’s Monthly Report

Ron Fussell our operations manager has presented this report of the operations and project updates for April 2014.

The crew responded to 6 service calls in April, three were markings and the rest were turn offs, turn on calls, inspect customer shut off valves and meter re-reads.  There were no leaks reported.  Two stock transfers were completed this month.

During the month of April, we purchased 740,100 gallons of water from CLAWA and during the month of March, we purchased 698,600 gallons.  During April, we produced 1,191,313 gallons of water and in March, we produced 1,091,100 gallons.

Superior Tank in conjunction with TSCI (Dennis Lapore) was awarded the contract to replace our 24,000 gallon holding tank in the AVMSC yard.  Ron had a plot plan drawn up and hand delivered to the County Building and Safety on May 1st and had to submit the contractor’s county permit number.  Ron will be going in to the County office on May 14th to inquire on the status of the permit.

Bacon/Wagner was given the fire hydrant replacement contract last year and AVMSC has committed to purchasing 10 fire hydrants per year until the total 52 hydrants in the Villas have been replaced.  Seven hydrants have been identified for replacement and Bacon/Wagner has replaced 4 hydrants on Mill Court, Virginia Court, East Victoria Court and Larchmont.  All hydrants are operational however, some are leaking or are hard to open and we expect Bacon/Wagner to continue the hydrant replacements throughout the Summer and Fall.

On our Automated Meter Reading project, 50 new AMR meters have been delivered and 38 have been installed so far.  An additional 50 meters have been ordered with an expected delivery in mid-June.  The total meters installed to date is 118.  The streets that have been completed are Sunderland Court, Arrowhead Villas Road and Lords Lane.

Well #7 was pumped and tested by Clinical Lab.  The maximum contaminate level (MCL) was over the limit on two minerals.  Ron is meeting with the Department of Health Services (DOHS) on May 14th to discuss treatment and production options for Well #7.

Aspen Construction will be doing the paving repairs this year and will be offering shareholders a cost savings for any pavement work they would like done in coordination with our road repairs.  Work will be scheduled from May through the end of August and anyone interested will need to contact the office and the contractor before July 15th.

Office #(909) 337-4259 Aspen Construction (909) 337-6242.

One of the three water monitoring stations has been installed on Ivy Lane and the remaining two stations have been ordered.  Ron will be meeting with DOHS to discuss the implementation of the new monitoring (sample) plan on May 14th.  This new plan will save the company significant time and money as we expect to reduce the sampling from every Wednesday to just the first Wednesday of each month.

The company encourages shareholders, vacationers, visitors and renters to continue to visit the different areas of our company website (AVMSC.com) for good information such as the By-Laws, Company Mission Statement, Calendar of Events, some rules and regulations, the Annual Water Quality Report and a list of phone numbers for associate local agencies including LACSD, the Sheriff’s Dept., Fire Dept., Animal Control, Building and Safety and the Edison Company.  The office can be contacted at arrowheadvillas@verizon.net or by phone at 337-4259.